CITY OF CARLISLE

# CLEAN AIR ACT 1993

## SECTION 14 - CHIMNEY HEIGHTS

APPLICATION FOR APPROVAL BY THE LOCAL AUTHORITY OF THE

HEIGHT OF A CHIMNEY SERVING A FURNACE OF FURNACES.

SCHEDULE 5  PART II

Data Protection: The information you provide on this form will only be used to help Carlisle City Council carry out its enforcement role in relation to the Clean Air Act 1993.

_______________________________________________________________________

Please Use Block Letters

APPLICANT							CONSULTANT, CONTRACTOR OR OTHER

AGENT (IF EMPLOYED).

SURNAME							NAME

(Mr, Mrs, Miss)

OTHER NAMES						ADDRESS

ADDRESS

Telephone No						Telephone No.

THREE COPIES OF THE PLANS AND APPLICATION FORMS SHOULD BE SUBMITTED TO:

HEAD OF ENVIRONMENTAL SERVICES

7TH FLOOR, CIVIC CENTRE

CARLISLE

CA3 8QG

Telephone 01228 817330

ADDRESS OF PREMISES WHERE CHIMNEY IS OR WILL BE CONSTRUCTED

BRIEF DESCRIPTION OF PROPOSED WORKS

Particulars to accompany

Application for Approval

A.	Description and use of Furnace(s)

1.	Intended use of furnace(s) (e.g. boiler plant, metal melting or reheating, calcining, drying etc).

2.	Type and description of furnace(s) (note 1)

3.	(a)	Particulars of furnace to be installed

(b)	Particulars of changes to existing furnaces

(c)	Particulars of furnaces to be removed

B.	Rating and Fuel Consumption

1.	Maximum continuous rating of boiler(s) in MW.

2.	Maximum rate of combustion of fuel in kg/h for mass of M3/h for volume.

3.	Type(s) of fuel to be used (see Note 2).

4.	Sulphur content of fuel (expressed as a %).

C.	Particulars of Emissions

1.	Efflux velocity of chimney gases at working temperature and at maximum loading of plant (m per sec).

D.	Particulars of Buildings

1.	Height of building to which the chimney is attached.

2.	Length of building to which the chimney is attached.

3.	Heights of adjacent buildings.

4.	Distance of adjacent buildings from proposed chimney.

E.	Particulars of Chimney for Which Approval is Required.

1.	Height of chimney above ground level.

2.	Details of construction of chimney (materials, insulation, single or multi flue, internal diameter of chimney top).

F.	Supplementary Information

1.	Brief description and/or sketch plan of other emission sources on the same site with heights of chimneys and approximate distance from chimneys for which approval is sought.

NOTES

1.	The information should relate to the total furnaces or boiler plant which the proposed chimney will serve after all the works have been completed.

2.	If oil specify type and viscosity.  If solid fuel give NCB specification, or colliery source, if known.

3.	The applicants attention is drawn to the provisions of Section 14 of the Clean Air Act 1993.  Further details are available by request from the Environmental Services Division.